## Dash Board
Daily Management report :- SBMP, Vile Parle
| Reported by :- | BMS Operator | [7 empty] | Date:- | 2022-02-08
Manpower | [9 empty] | Helpdesk Report
Sr. No. | Designation | Approved | Deployed | Present | W/O | Absent | Leave |  |  | Sr. No. | Category | Todays call | Previous call | Call resolved | Total Pending call
1 | BMS Operator | 2 | 2 | 2 | 0 | 0 |  |  |  | 1 | Electrical | 8 | 0 | 8 | 0
2 | HVAC Operator | 2 | 1 | 1 | 0 | 0 |  |  |  | 2 | Lift | 1 | 0 | 0 | 1
3 | Electrician | 3 | 3 | 2 | 0 | 0 | 1 |  |  | 3 | Plumbing | 3 | 0 | 3 | 0
4 | Carpenter | 2 | 2 | 2 | 0 | 0 |  |  |  | 4 | FIRE | 2 | 0 | 1 | 1
5 | Plumber | 1 | 1 | 1 | 0 | 0 |  |  |  | 5 | HVAC | 9 | 0 | 9 | 0
6 | Fire Officer | 3 | 3 | 3 | 0 | 0 |  |  |  | 6 | Carpenter | 10 | 0 | 10 | 0
[10 empty] | 7 | Other | 3 | 0 | 3 | 0
| Total | 13 | 12 | 11 | 0 | 0 | 1 |  |  | Total |  | 36 | 0 | 34 | 2
Sr. No. | Electrical Meter Reading | Current reading |  | Previous reading |  | Difference |  | M.F. | Total Consume |  |  | Diesel Fuel tank level |  | Battery gravity | Battery voltage
|  | KWH |  | KWH |  | Kwh |  |  | Kwh |  |  | Medium |  | 1210 | 13.3
1 |  | 1228.1 |  | 1227 |  | 1.1 |  | 2400 | 2640
[12 empty] | Critical Equipment's (Weekly rotation) |  | Avl units | Operated Units (08-02-2022)
2 | BMC Water Meter | Current reading |  | Previous reading |  | Difference |  | M.F. | Total Reading |  |  | Trane Chiller |  | 3 | no: 2
|  | KL |  | KL |  | KL |  |  | Litre |  |  | Hitachi Lifts |  | 4 | B,C & D
|  | 19905 |  | 19858 |  | 47 |  | 1000 | 47000 |  |  | Mitsubishi Lifts |  | 2 | E & F
1 | Vendor | Coordinate to Trane India Engineer for Chiller no:3 replaced oil filter & all Chiller PPM work done at sbmp building.
2 |  | Coordinate to Hitachi lift technicain for Lift A stuck problem is not solve at sbmp building.
3 |  | Coordinate to Durga Enterprises for Painting work of all washroom outside shaft area at terrace to ground floor sbmp building.
4 | Work in process | 1. All Floor Washroom soap dispenser are damaged.
5 |  | 2. FAS system hooter is work in progress of 7,6,5,4,3 & Ground. at SBMP Building
6 |  | 3. FAS system hooter is work in progress of 7,6,5,4,3 & Ground. at SBMP Building
7 |  | 6. 4 no's hand dryer is faulty of Handicap washroom at 7th,6th,3rd and 2nd floor SBMPE building.

## Energy Meter
Energy Meter reading for February 2022
Sr. No. | Date | Current reading | Previous reading | Difference | M.F | Total Consumptions
|  | Meter A (8:00 am) |  |  |  | Kwh
1 | 2022-02-01 | 1219.2 | 1217.4 | 1.8 | 2400 | 4320
2 | 2022-02-02 | 1220.6 | 1219.2 | 1.4 | 2400 | 3360
3 | 2022-02-03 | 1222.4 | 1220.6 | 1.8 | 2400 | 4320
4 | 2022-02-04 | 1224.2 | 1222.4 | 1.8 | 2400 | 4320
5 | 2022-02-05 | 1225.7 | 1224.2 | 1.5 | 2400 | 3600
6 | 2022-02-06 | 1227 | 1225.7 | 1.3 | 2400 | 3120
7 | 2022-02-07 |  |  | 0 | 2400 | 0
8 | 2022-02-08 | 1228.1 | 1227 | 1.1 | 2400 | 2640
9 | 2022-02-09 | 1230 | 1228.1 | 1.9 | 2400 | 4560
10 | 2022-02-10 | 1231.7 | 1230 | 1.7 | 2400 | 4080
11 | 2022-02-11 |  |  | 0 | 2400 | 0
12 | 2022-02-12 |  |  | 0 | 2400 | 0
13 | 2022-02-13 |  |  | 0 | 2400 | 0
14 | 2022-02-14 |  |  | 0 | 2400 | 0
15 | 2022-02-15 |  |  | 0 | 2400 | 0
16 | 2022-02-16 |  |  | 0 | 2400 | 0
17 | 2022-02-17 |  |  | 0 | 2400 | 0
18 | 2022-02-18 |  |  | 0 | 2400 | 0
19 | 2022-02-19 |  |  | 0 | 2400 | 0
20 | 2022-02-20 |  |  | 0 | 2400 | 0
21 | 2022-02-21 |  |  | 0 | 2400 | 0
22 | 2022-02-22 |  |  | 0 | 2400 | 0
23 | 2022-02-23 |  |  | 0 | 2400 | 0
24 | 2022-02-24 |  |  | 0 | 2400 | 0
25 | 2022-02-25 |  |  | 0 | 2400 | 0
26 | 2022-02-26 |  |  | 0 | 2400 | 0
27 | 2022-02-27 |  |  | 0 | 2400 | 0
28 | 2022-02-28 |  |  | 0 | 2400 | 0
|  |  |  | 0 | 2400 | 0
|  |  |  | 0 | 2400 | 0
|  |  |  | 0 | 2400 | 0
| Total difference :- |  |  | 14.3
| Total Monthly Consumptions |  |  | 34320

## Water Consumption
Water mater reading for February 2022
Sr. No. | Date | Current reading |  | Previous reading | Difference | M.F. | Total Reading
|  | Kl |  | KL | KL |  | ltr
1 | 2022-02-01 | 19624 |  | 19502 | 122 | 1000 | 122000
2 | 2022-02-02 | 19674 |  | 19624 | 50 | 1000 | 50000
3 | 2022-02-03 | 19718 |  | 19674 | 44 | 1000 | 44000
4 | 2022-02-04 | 19762 |  | 19718 | 44 | 1000 | 44000
5 | 2022-02-05 | 19803 |  | 19762 | 41 | 1000 | 41000
6 | 2022-02-06 | 19803 |  | 19803 | 0 | 1000 | 0
7 | 2022-02-07 | 19858 |  | 19803 | 55 | 1000 | 55000
8 | 2022-02-08 | 19905 |  | 19858 | 47 | 1000 | 47000
9 | 2022-02-09 | 19960 |  | 19905 | 55 | 1000 | 55000
10 | 2022-02-10 |  |  |  | 0 | 1000 | 0
11 | 2022-02-11 |  |  |  | 0 | 1000 | 0
12 | 2022-02-12 |  |  |  | 0 | 1000 | 0
13 | 2022-02-13 |  |  |  | 0 | 1000 | 0
14 | 2022-02-14 |  |  |  | 0 | 1000 | 0
15 | 2022-02-15 |  |  |  | 0 | 1000 | 0
16 | 2022-02-16 |  |  |  | 0 | 1000 | 0
17 | 2022-02-17 |  |  |  | 0 | 1000 | 0
18 | 2022-02-18 |  |  |  | 0 | 1000 | 0
19 | 2022-02-19 |  |  |  | 0 | 1000 | 0
20 | 2022-02-20 |  |  |  | 0 | 1000 | 0
21 | 2022-02-21 |  |  |  | 0 | 1000 | 0
22 | 2022-02-22 |  |  |  | 0 | 1000 | 0
23 | 2022-02-23 |  |  |  | 0 | 1000 | 0
24 | 2022-02-24 |  |  |  | 0 | 1000 | 0
25 | 2022-02-25 |  |  |  | 0 | 1000 | 0
26 | 2022-02-26 |  |  |  | 0 | 1000 | 0
27 | 2022-02-27 |  |  |  | 0 | 1000 | 0
28 | 2022-02-28 |  |  |  | 0 | 1000 | 0
[5 empty] | 0 | 1000 | 0
[5 empty] | 0 | 1000 | 0
[5 empty] | 0 | 1000 | 0
|  | Total Water received | 4.58 |  | in Kilo