## PMS 19-20
SBMP (Virle Parle) PMS Tracker for 2019-20
Sr.no. | Equipment name | Oty | Equipment Rating | Agency name | Service type | No.of Service | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date
1 | HT panel | 1 | 630Amp | Sterling & Wilson | Annual | 1
2 | Transformer | 2 | 1250 KVA | Sterling & Wilson | Annual | 1
3 | L.T Panel | 1 | 2000 Amp | Sterling & Wilson | Annual | 1
4 | APFC Panel | 1 | 300 KVAR | Sterling & Wilson | Quarterly | 4
5 | UPS | 2 | 10 KVA | Accutech power | Quarterly | 4 | 2019-04-06 | 2019-04-05 |  |  |  |  | 2019-07-06 | 2019-07-17 |  |  |  |  | 2019-10-05 | 2019-10-08 |  |  |  |  | 2020-01-04 | 2020-01-24
6 | Chiller Plant | 3 | 300 TR | Trane | Quarterly | 4 |  |  |  |  | 2019-06-15 | 2019-06-10 |  |  |  |  | 2019-09-14 | 2019-09-06 |  |  |  |  | 2019-12-07 | [5 empty] | 2020-03-07
7 | Condensor Pump | 3 | 20 HP | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-08 |  |  |  |  | 2019-09-07 | [5 empty] | 2019-12-07 | [5 empty] | 2020-03-07
8 | Secondary Pump | 3 | 10 HP | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-08 |  |  |  |  | 2019-09-07 | [5 empty] | 2019-12-07 | [5 empty] | 2020-03-07
9 | Primary Pump | 3 | 10 HP | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-09 | 2019-06-07 |  |  |  |  | 2019-09-08 | [5 empty] | 2019-12-08 | [5 empty] | 2020-03-08
10 | Cooling Tower no | 3 | 275 TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-09 | 2019-06-28 |  |  |  |  | 2019-09-08 | 2019-08-21 | 2018-12-22 | 2019-12-27 |  |  | 2019-12-08 | 2019-12-24 |  |  |  |  | 2020-03-08
11 | VFD | 23 | N/A | Danfos | Quarterly | 4
12 | AHU 1F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-28 |  |  |  |  | 2019-09-07 | [5 empty] | 2019-12-07 | 2019-12-31 |  |  |  |  | 2020-03-07
| AHU 2F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-28 |  |  |  |  | 2019-09-07 | [5 empty] | 2019-12-07 | 2019-12-31 |  |  |  |  | 2020-03-07
| AHU 3F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-15 | 2019-06-28 |  |  |  |  | 2019-09-14 | [5 empty] | 2019-12-14 | 2019-12-31 |  |  |  |  | 2020-03-14
| AHU 4F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-15 | 2019-06-28 |  |  |  |  | 2019-09-14 | [5 empty] | 2019-12-14 | 2019-12-31 |  |  |  |  | 2020-03-14
| AHU 5F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-22 | 2019-06-28 |  |  |  |  | 2019-09-21 | [5 empty] | 2019-12-21 | 2019-12-31 |  |  |  |  | 2020-03-21
| AHU 6F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-22 | 2019-06-28 |  |  |  |  | 2019-09-21 | [5 empty] | 2019-12-21 | 2019-12-31 |  |  |  |  | 2020-03-21
| AHU 7F | 2 | 40TR, 50TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-22 | 2019-06-28 |  |  |  |  | 2019-09-21 | [5 empty] | 2019-12-21 | 2019-12-31 |  |  |  |  | 2020-03-21
13 | VAV 1F | 21 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 2F | 25 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 3F | 23 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 4F | 24 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 5F | 25 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 6F | 13 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
| VAV 7F | 13 | N/A | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-29 | 2019-06-28 |  |  |  |  | 2019-09-28 | [5 empty] | 2019-12-28 | 2019-12-25 |  |  |  |  | 2020-03-28
14 | FCU | 16 | 5 TR | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-15 | 2019-06-25 |  |  |  |  | 2019-09-14 | 2019-08-25 |  |  |  |  | 2019-12-14 | 2019-12-29
15 | Spli Unit | 4 | 1TR, 2TR | Mitsubishi | Monthly | 12 |  |  |  |  | 2019-06-08 | 2019-06-24 | 2019-07-06 | 2019-07-23 | 2019-08-03 | 2019-08-01 |  |  | 2019-10-05 | 2019-10-31 | 2019-11-09 | 2019-11-30 | 2019-12-07 | 2019-12-15
16 | Window AC | 2 | 1.5 TR | Blue Star | Monthly | 12 |  |  |  |  | 2019-06-08 | 2019-06-25 | 2019-07-06 | 2019-07-04 | 2019-08-03 | 2019-08-01 |  |  | 2019-10-05 | 2019-10-31 | 2019-11-09 | 2019-11-30 | 2019-12-07 | 2019-12-15
17 | Exhaust fan | 16 |  | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-28 |  |  |  |  | 2019-09-07 | [5 empty] | 2019-12-07 | [5 empty] | 2020-03-07
18 | Aqua Guard | 16 | 35 ltrs | Oasis | Monthly | 12 | 2019-04-06 |  | 2019-05-04 | 2019-05-03 | 2019-06-08 | 2019-06-26 | 2019-07-06 | 2019-07-23 | 2019-08-03 |  | 2019-09-07 | 2019-09-21 | 2019-10-05 | 2019-10-22 | 2019-11-09 | 2019-11-28 | 2019-12-07 | 2019-12-30 | 2020-01-11 | 2020-01-22 | 2020-02-08 |  | 2020-03-07
19 | Elevators | 4 | 1350 KG | Hitachi | Monthly | 12 | 2019-04-27 |  | 2019-05-25 | 2019-05-28 | 2019-06-29 | 2019-06-28 | 2019-07-27 | 2019-07-24 | 2019-08-24 | 2019-08-26 | 2019-09-28 | 2019-09-25 | 2019-10-26 | 2019-10-25 | 2019-11-23 | 2019-11-28 | 2019-12-28 | 2019-12-24 | 2020-01-25 |  | 2020-02-29 |  | 2020-03-28
20 | Elevators | 2 | 1350 KG | Mitsubishi | Monthly | 12 | 2019-04-27 |  | 2019-05-25 | 2019-05-23 | 2019-06-29 | 2019-06-18 | 2019-07-27 | 2019-07-24 | 2019-08-24 | 2019-08-29 | 2019-09-28 | 2019-09-23 | 2019-10-26 | 2019-10-25 | 2019-11-23 | 2019-11-21 | 2019-12-28 | 2019-12-26 | 2020-01-25 |  | 2020-02-29 |  | 2020-03-28
21 | UPS DB | N/A | N/A | Sila In-house team | Annual | 1 | [10 empty] | 2020-01-11: 2020-01-11
22 | ELDB | N/A | N/A | Sila In-house team | Quarterly | 4 | 2019-04-13 | [5 empty] | 2019-07-13 | 2019-07-11 |  |  | 2019-10-05: 2019-10-12; 2019-10-22: 2019-10-13; 2020-01-11: 2020-01-11
23 | PDB | N/A | N/A | Sila In-house team | Quarterly | 4 | 2019-04-20 | [5 empty] | 2019-07-20 | 2019-07-15 |  |  | 2019-10-05: 2019-10-19; 2019-10-22: 2019-10-20; 2020-01-11: 2020-01-18
24 | LDB | N/A | N/A | Sila In-house team | Quarterly | 4 | 2019-04-27 | [5 empty] | 2019-07-27 | 2019-07-26 |  |  | 2019-10-05: 2019-10-26; 2019-10-22: 2019-10-25; 2020-01-11: 2020-01-25
25 | Power Panel | N/A | N/A | Sila In-house team | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-25 |  |  |  |  | 2019-09-07: 2019-09-07; 2019-09-21: 2019-09-25; 2019-12-07: 2019-12-07; 2019-12-30: 2019-12-08 |  | 2020-03-07
26 | Emergency light | N/A | N/A | Sila In-house team | Monthly | 12 | 2019-04-06 |  | 2019-05-04 | 2019-05-06 | 2019-06-08 | 2019-06-25 | 2019-07-06 | 2019-07-07 | 2019-08-03 | 2019-08-01 | 2019-09-07 | 2019-09-27 | 2019-10-05 | 2019-10-07 | 2019-11-09 | 2019-11-10 | 2019-12-07 | 2019-12-09 | 2020-01-11 | 2020-01-07 | 2020-02-08 |  | 2020-03-07
27 | FCU inhouse PM | N/A | N/A | Sila In-house team | Monthly | 12 |  |  | 2019-05-04 | 2019-05-02 |  |  |  |  | 2019-08-03 | 2019-08-01 | 2019-11-09: 2019-11-09; 2019-11-28: 2019-11-10; 2020-02-08: 2020-02-08
28 | All AHU FCU drain line | N/A | N/A | Sila In-house team | Monthly | 12 | 2019-04-27 |  |  |  | 2019-06-29 | 2019-06-25 |  |  | 2019-08-24 | 2019-08-22 | 2019-10-05: 2019-10-26; 2019-12-07: 2019-12-28; 2019-12-30: 2019-12-22; 2020-02-08: 2020-02-29
29 | Fire Hydrant system | N/A | N/A | Noesis Fire | Quarterly | 4 | 2019-04-06 | 2019-04-03 |  |  | 2019-06-08 | 2019-06-11 |  |  | 2019-08-10 | 2019-08-08 | 2019-09-07: 2019-09-14; 2019-09-21: 2019-09-17; 2019-10-05: 2019-10-12; 2019-12-07: 2019-12-07; 2019-12-30: 2019-12-30; 2020-02-08: 2020-02-08
30 | Fire Sprinkler system | N/A | N/A | Noesis Fire | Quarterly | 4 | 2019-04-06 | 2019-04-03 |  |  | 2019-06-08 | 2019-06-11 |  |  | 2019-08-10 |  | 2019-10-05: 2019-10-12; 2019-12-07: 2019-12-07; 2019-12-30: 2019-12-30; 2020-02-08: 2020-02-08
31 | Fire engine trial | 1 | 100KVA | Sila In-house team | Monthly | 12 | 2019-04-27 | 2019-04-27 | 2019-05-25 | 2019-05-25 | 2019-06-29 | 2019-06-25 | 2019-07-27 | 2019-07-29 | 2019-08-24 | 2019-08-23 | 2019-09-28 |  | 2019-10-26 | 2019-10-31 | 2019-11-23 | 2019-11-24 | 2019-12-28 | 2019-12-26 | 2020-01-25 |  | 2020-02-29 |  | 2020-03-28
32 | Fire alarm system | 4 |  | Egletech | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-25 |  |  |  |  | 2019-09-07: 2019-09-07; 2019-12-07: 2019-12-07; 2019-12-30: 2019-12-22 |  | 2020-03-07
33 | Exhaust fan | 16 |  | Blue Star | Quarterly | 4 |  |  |  |  | 2019-06-08 | 2019-06-28 |  |  |  |  | 2019-09-07: 2019-09-07; 2019-12-07: 2019-12-07; 2019-12-30: In-process |  | 2020-03-07
34 | Water tank | 2 | 2 lakhs ltr | Water tank | Half Yearly | 2 |  | 2019-04-28 | [8 empty] | 2019-09-07: 2019-09-14; 2019-09-21: 2019-10-13
35 | Pest control | N/A | N/A | NPC Pesticides | Monthly | 1 |  | 2019-04-28 | [8 empty] | 2019-09-07: 2019-09-14; 2019-09-21: 2019-10-13 |  | 2020-03-07 | 2020-03-08
35 | Pedestal fan | 10 | N/A |  | Monthly | 1 |  | 2019-04-28 | [8 empty] | 2019-09-07: 2019-09-14; 2019-09-21: 2019-10-13 |  | 2020-03-07

## In house PM 19-20
SBMP (Virle Parle) PMS Tracker for 2019-20
Sr.no. | Equipment name | Oty | Equipment Rating | Agency name | Service type | No.of Service | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date | Scheduled date | Service date
1 | Cooling Tower -1 | 1 | 275 TR | Blue Star | Monthly | 12
| Cooling Tower -2 | 1 | 275 TR | Blue Star | Monthly | 12
| Cooling Tower -3 | 1 | 275 TR | Blue Star | Monthly | 12
2 | 1F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 2F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 3F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 4F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 5F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 6F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
| 7F AHU 1 & 2 | 2 | 40TR, 50TR | Blue Star | Quarterly | 12
3 | FCU inhouse PM | 16 | 5 TR | Blue Star | Quarterly | 12
4 | Spli Unit | 4 | 1TR, 2TR | Mitsubishi | Monthly | 12
5 | Window AC | 2 | 1.5 TR | Blue Star | Monthly | 12
6 | UPS DB (Ground floor) | N/A | N/A | In-house team | Annual | 1
7 | ELDB (Ground floor) | N/A | N/A | In-house team | Quarterly | 4
8 | PDB (Ground floor) | N/A | N/A | In-house team | Quarterly | 4
9 | LDB (Ground floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (1st floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (1st floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (1st floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (1st floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (2nd floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (2nd floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (2nd floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (2nd floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (3rd floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (3rd floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (3rd floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (3rd floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (4th floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (4th floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (4th floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (4th floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (5th floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (5th floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (5th floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (5th floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (6th floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (6th floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (6th floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (6th floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (7th floor) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (7th floor) | N/A | N/A | In-house team | Quarterly | 4
| PDB (7th floor) | N/A | N/A | In-house team | Quarterly | 4
| LDB (7th floor) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (Basement-1) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (Basement-1) | N/A | N/A | In-house team | Quarterly | 4
| PDB (Basement-1) | N/A | N/A | In-house team | Quarterly | 4
| LDB (Basement-1) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (Basement-2) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (Basement-2) | N/A | N/A | In-house team | Quarterly | 4
| PDB (Basement-2) | N/A | N/A | In-house team | Quarterly | 4
| LDB (Basement-2) | N/A | N/A | In-house team | Quarterly | 4
| UPS DB (Basement-3) | N/A | N/A | In-house team | Quarterly | 4
| ELDB (Basement-3) | N/A | N/A | In-house team | Quarterly | 4
| PDB (Basement-3) | N/A | N/A | In-house team | Quarterly | 4
| LDB (Basement-3) | N/A | N/A | In-house team | Quarterly | 4
6 | Power panel Basement-1 ,Gr,1st | N/A | N/A | In-house team | Annual | 1
7 | Power panel 2nd,3rd,4th | N/A | N/A | In-house team | Quarterly | 4
8 | Power panel 5th,6th and 7th | N/A | N/A | In-house team | Quarterly | 4
9 | LP Panel -1,2,3 | N/A | N/A | In-house team | Quarterly | 4
11 | Emergency light | N/A | N/A | In-house team | Monthly | 12
| Sliding gate | 3 | N/A | In-house team | Monthly | 12
In-house team
12 | All AHU FCU drain line | N/A | N/A | In-house team | Monthly | 12
13 | Fire Hydrant system | N/A | N/A | In-house team | Monthly | 4
14 | Fire Sprinkler system | N/A | N/A | In-house team | Monthly | 4
15 | Fire engine trial | 1 | 100KVA | In-house team | Monthly | 12

## S.Dates
Sr. No. | Name of equipments | AMC/DLP | Vendor Name | Frequency | Scheduled date | Service date | Next due
1 | UPS | AMC | Accutech Power | Quarterly | 6.4.2019 | 5.4.2019 | 6.7.2019
2 | Condenser Pump | DLP | Blue Star | Monthly | 16.3.2019 | 7.3.2019 | 8.6.2019
3 | Chiller Plant | AMC | Trane India | Quarterly | 20.3.2019 | 18.03.2019 | 15.6.2019
4 | Secondary Pump | DLP | Blue Star | Quarterly | 16.3.2019 | 7.3.2019 | 8.6.2019
5 | Primary Pump | DLP | Blue Star | Quarterly | 16.3.2019 | 7.3.2019 | 8.6.2019
6 | Cooling Tower no | DLP | Blue Star | Quarterly | 24.3.2019 | 24.3.2019 | 9.6.2019
7 | VFD | DLP | Blue Star | Quarterly | NA | NA
8 | AHU | DLP | Blue Star | Quarterly | 6.3.2019 | 2.3.2019 | 8.6.2019
9 | VAV | DLP | Blue Star | Quarterly | 16.3.2019 | 2.4.2019 | 15.6.2019
10 | FCU | DLP | Blue Star | Quarterly | 16.3.2019 | 19.3.2019 | 15.6.2019
11 | Split Unit | AMC | Mitsubishi | Quarterly | 30.3.2019 | 23.3.2019 | 8.6.2019
12 | Window AC | AMC | Blue star | Quarterly | 30.3.2019 | 26.3.2019 | 21.6.2019
13 | Elevators | AMC | Hitachi | Monthly | 25.5.2019 | 28.5.2019 | 29.6.2019
14 | UPS DB | NA |  | Quarterly | 6.1.2019 | 6.1.2019 | 11.01.2020
15 | ELDB | NA |  | Quarterly | 13.4.2019 | 14.4.2019 | 13.07.2019
16 | PDB | NA |  | Quarterly | 20.4.2019 | 21.4.2019 | 20.07.2019
17 | LDB | NA |  | Quarterly | 13.4.2019 | 14.4.2019 | 27.07.2019
18 | Power Panel | NA |  | Quarterly | 25.5.2019 | 25.5.2019 | 24.7.2019
19 | Emergency light | NA |  | Monthly | 4.5.2019 | 6.5.2019 | 8.6.2019
20 | FCU in-house PM | NA |  | Quarterly | 04.5.2019 | 2.5.2019 | 3.8.2019
21 | Fire Hydrant system | AMC | Noesis fire | Quarterly | 6.3.2019 | 3.4.2019 | 8.6.2019
22 | Fire Sprinkler system | AMC | Noesis fire | Quarterly | 6.3.2019 | 3.4.2019 | 8.6.2019
23 | Fascade cleaning | AMC | Sila | Quarterly | 9.3.2019 | 22.3.2019 | 15.3.2019
24 | Pest Control | AMC | Envocare | Weekly | 6.5.2019 | 25.5.2019 | 8.6.2019